P O Box 40

Jarrell, Texas 76537

512-746-2114       Fax 512-746-2374

office@jswatersupply.com

IMPORTANT WATER DISINFECTION NOTICE

Effective June 1, 2026, Jarrell Schwertner Water Supply Corporation will change the water disinfectant treatment method from free chlorine to chloramines within portions of the distribution system.

Areas Affected

- FM 2268

- Gooseneck Road

- Hackberry

- Lindemann Road

Subdivisions Affected

- Flint Ridge

- The Overlook

- Sterling Meadows

This disinfectant conversion is part of routine water system operations and is intended to maintain water quality and regulatory compliance throughout the distribution system.

Customers may notice a slight change in the taste or odor of their water during this period. The water will remain safe for normal use, including drinking, cooking, and bathing.

Customers with aquariums, fish ponds, kidney dialysis equipment, or other specialized water treatment systems should take necessary precautions regarding chloraminated water.

If you have questions or concerns, please contact Jarrell Schwertner Water Supply Corporation.

Thank you,
Jarrell Schwertner Water Supply Corporation